| St. Louis County, MN | Operating permit HOLDING TANK 5.1 Subsurface Sewage Treatment System |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Form 3041 Rev. 01-02-2024 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| This form is used to complete an operating permit renewal. Additional Information: www.stlouiscountymn.gov/septic. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| # LOCATION & SERVICE PERFORMED BY |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Site Address |  |  |  |  |  |  |  |  |  |  | City |  |  |  |  |  |  |  |  |  |  |  |  | Zip |  |  |  |  |  |  |  | Permit # |  |
| Licensed Business Name |  |  |  |  |  |  |  |  |  |  | License # |  |  |  |  |  |  |  |  |  |  |  |  | Employee |  |  |  |  |  |  |  | Date |  |
| # OPERATIONAL CHECKLIST |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| # 1. Conditions at the tank |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | # ☐ Acceptable # ☐ Unacceptable # ☐ N/A |
| # Evaluate presence of odor within 10 feet of perimeter of system |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | # ☐ None |  |  |  | # ☐ Mild |  |  |  |  |  |  | # ☐ Strong |  |  |  |  |  | # ☐ Chemical |  |  |  |  |  |  |  | # ☐ Sour |  |  |  |  |  |  |
| # Source of odor; if present |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| # 2. Tank description |  |  |  | # ☐ Concrete |  |  |  |  | # ☐ Fiberglass |  |  |  |  |  | # ☐ Plastic |  |  |  |  |  |  | # Capacity |  |  |  |  |  |  | # gallons |  |  |  |  |
| # 3. Tank access |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | # ☐ Acceptable # ☐ Unacceptable # ☐ N/A |
| # Location |  |  | # ☐ Inlet |  |  |  | # ☐ Outlet |  |  |  |  |  |  | # ☐ At grade |  |  |  |  |  | # If buried, depth |  |  |  |  |  |  |  | # inches |  |  |  |  |  |
| # Risers on tank |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | # ☐ Yes |  |  |  |  |  | # ☐ No |  |  |
| # Evidence of infiltration |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | # ☐ Yes |  |  |  |  |  | # ☐ No |  |  |
| # Lids secure & operable condition |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | # ☐ Yes |  |  |  |  |  | # ☐ No |  |  |
| # 4. Alarm(s) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | # ☐ Acceptable # ☐ Unacceptable # ☐ N/A |
| # Is there an Alarm(s) installed |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | # ☐ Yes |  |  |  |  |  | # ☐ No |  |  |
| # Audio alarm operational |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | # ☐ N/A |  | # ☐ Yes |  |  |  |  |  | # ☐ No |  |  |
| # Visual alarm operational |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | # ☐ N/A |  | # ☐ Yes |  |  |  |  |  | # ☐ No |  |  |
| # Remote telemetry operational |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | # ☐ N/A |  | # ☐ Yes |  |  |  |  |  | # ☐ No |  |  |
| # Electronic monitoring operational |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | # ☐ N/A |  | # ☐ Yes |  |  |  |  |  | # ☐ No |  |  |
| # 5. Current tank operating conditions |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | # ☐ Acceptable # ☐ Unacceptable # ☐ N/A |
| # Liquid level relative to inlet |  |  |  |  |  |  |  | # inches |  |  |  | # ☐ At |  |  |  |  |  | # ☐ Above |  |  |  |  |  |  | # ☐ Below |  |  |  |  |  |  |  |  |
| # Maximum liquid level of tank (invert of inlet pipe) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | # inches |  |  |  |  |  |  |  |  |
| # Height at which alarm is activated as measured from invert of inlet |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | # inches |  |  |  |  |  |  |  |  |
| # Evidence liquid level has been higher |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | # ☐ Yes |  |  |  |  |  | # ☐ No |  |  |
| # Evidence liquid level dropped without pumping |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | # ☐ Yes |  |  |  |  |  | # ☐ No |  |  |
| # Evidence of continuous flow |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | # ☐ Yes |  |  |  |  |  | # ☐ No |  |  |
| # Date of last pump out |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | # Date |  | # Date |  |  |  |  |  |  |  |  |
| # 6. Tank structural condition (evaluated if tank pumped) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | # ☐ Acceptable # ☐ Unacceptable # ☐ N/A |
| # Appears to be watertight |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | # ☐ Yes |  |  |  |  |  | # ☐ No |  |  |
| # Rebar exposed |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | # ☐ Yes |  |  |  |  |  | # ☐ No |  |  |
| # Corrosion present |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | # ☐ Yes |  |  |  |  |  | # ☐ No |  |  |
| # Spalling present |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | # ☐ Yes |  |  |  |  |  | # ☐ No |  |  |
| # Root intrusion |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | # ☐ Yes |  |  |  |  |  | # ☐ No |  |  |
| # Deflection noted |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | # ☐ Yes |  |  |  |  |  | # ☐ No |  |  |
| # 7. Water usage records |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| # 8. Contractor responsible for pumping |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| CONTACT Planning and Zoning (Onsite Wastewater Division) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Duluth Office |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Virginia Office |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Government Services Center 320 W 2nd Street, Suite 301 Duluth, MN 55802 |  |  |  |  | Phone (218) 471-7103 Toll Free (800) 450-9777 www.stlouiscountymn.gov/septic |  |  |  |  |  |  |  |  |  |  | Government Services Center 201 South 3rd Avenue West Virginia, MN 55792 |  |  |  |  |  |  |  |  |  |  |  |  |  | Phone (218) 471-7103 Toll Free (800) 450-9777 www.stlouiscountymn.gov/septic |  |  |  |